How to tape a photograph into a laboratory notebook:

- Use clear tape; don’t waste it.

- Align the wells so they go 1 through 8 from left to right.

- Label the lanes above the wells with the number of the lane.

- Write down what goes in each lane.

- Then go back and make a note of the results.  You can write this next to the lane description or in another area of the lab notebook.

|  | 1 |  | 2 |  | 3 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Lane 1: +ve control, (+/-) |
|  |  |  |  |  |  |  |  | Lane 2: 100 bp ladder |
|  |  |  |  |  |  |  |  | Lane 3: sample 4561, homozygous (-) |

- Make sure each gel has the following information recorded in the lab notebook:

  - Date gel was run

  - What is in each lane- how much was loaded

  - % of gel and what it is made out of

  - Concentration of buffer

  - Length of time the gel ran (if known)

  - If there was a gel leader, write down his/her name, too.