Example of a Pre-lab

Title: Changes of physical state

Purpose: To investigate the melting and freezing behavior of a compound.

Materials:

| 2 400 mL beakers |  | Clock w/ 30 sec hand |  |
| --- | --- | --- | --- |
| 2 thermometers |  | Beaker tongs |  |
| 1 large test tube |  | 1 copper wire stirrer |  |
| 2 wire gauze |  | Lauric acid |  |
| 2 gas burner |  | 2 ring stand |  |
|  |  | 2 ring support |  |

Safety:

Wear goggles

Wash hands if you get lauric acid on them

Be aware of hot water…it burns.

Procedure:

- Heat water in beaker to 30° C (2/3 full)

- Heat water in another beaker to 60° C (2/3 full)

- Weigh 20 g of lauric acid

- Put 20 g in test tube

- Attach test tube to stand with clamp

- Put test tube in hot water beaker (60°C), but don’t let test tube touch bottom of beaker.

- Put copper wire in test tube (folded like a stirrer)

- Put thermometer in test tube- make sure it does not touch bottom of test tube, should be in middle

- After lauric acid melts, switch beakers.  Remove 60 deg beaker.  Replace with 30 deg beaker.

- Use beaker tongs to hold beaker while ring  is moved to allow the beakers to switch.

- Stir lauric acid.

- When temp = 55 °C, start taking temp measurements

- Read the temp to nearest 0.1  °C and record, every 30 sec.

- Continue stirring

- Stop reading temp when it = 40 ° C.

- Don’t force stirrer or thermometer when lauric acid has solidified.

- Redo expt, but this time record temp while lauric acid melts.

- Replace 40 deg beaker with a 55 deg beaker.  Be careful!  Water is hot!

- As lauric acid melts, record temp every 30 sec to the 0.1 deg.

- Clean up- don’t put lauric acid down the sink.  

Data:

Data table: Heating and Cooling Data

| Time (min) | Temperature (deg C) | Time (min) | Temperature (deg C) |
| --- | --- | --- | --- |
| 0 |  | 0 |  |
| 0.5 (30 sec) |  | 0.5 (30 sec) |  |
| 1.0 |  | 1.0 |  |
| 1.5 |  | 1.5 |  |